## INDEX PAGE
|  | HEAT TRANSFER PRODUCTS GROUP, LLC |  | SUBMITTAL DATA SHEET
|  | 3885 Crestwood Parkway / Suite 500 |  | New Low Profile Unit Cooler
|  | Duluth, GA 30096 |  | Air Defrost
|  | (P) 800-288-9488 / (F) 256-259-7478 |  |  | For Record Only
|  | http://Witt.htpgusa.com |  |  | For Approval
LEFT CLICK ON UNIT MODEL NUMBER LISTED BELOW FOR THE APPLICABLE SUBMITTAL SHEET
| 1-FAN / 6 FPI |  | RL6A041
RL6A052
RL6A066
| 2-FAN / 6 FPI |  | RL6A073
RL6A094
RL6A117
RL6A130
| 3-FAN / 6 FPI |  | RL6A141
RL6A161
RL6A181
| 4-FAN / 6 FPI |  | RL6A195
RL6A235
RL6A260
| 5-FAN / 6FPI |  | RL6A295
| 6-FAN / 6 FPI |  | RL6A330
RL6A390

## 1-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A041 |  | 4100 |  | 4800 |  |  | 1 | 12' | 800 | 25'
WL6A052 |  | 5200 |  | 6000 |  |  | 1 | 12" | 785 | 25'
WL6A066 |  | 6600 |  | 7800 |  |  | 1 | 12" | 775 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight Lbs. | 230v or 460v | 230v or 460v
| WL6A041 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 0.8 | 41 | 15 | 20
| WL6A052 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 1.2 | 44 | 15 | 20
| WL6A066 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 1.6 | 47 | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 1 | 0.8
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 0.5 | 0.5
F | 460 | 1 | 60 | n/a | 0.4 | 0.4 | N/A
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
1 - FAN
AIr
Defrost
Liquid
(2) Back & (3) Top
SUCTION
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## 2-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A073 |  | 7300 |  | 8500 |  |  | 2 | 12' | 1600 | 25'
WL6A094 |  | 9400 |  | 10900 |  |  | 2 | 12" | 1570 | 25'
WL6A117 |  | 11700 |  | 13600 |  |  | 2 | 12" | 1550 | 25'
WL6A130 |  | 13000 |  | 15300 |  |  | 2 | 12" | 1550 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight Lbs. | 230v or 460v | 230v or 460v
| WL6A073 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 1.2 | 52 | 15 | 20
| WL6A094 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 1.8 | 55 | 15 | 20
| WL6A117 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 2.5 | 58 | 15 | 20
| WL6A130 |  | 6 | 3/8" | 5/8" | 1/4" | 3/4-14 NPT | 2.7 | 62 | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 2 | 1.6
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 1 | 1
F | 460 | 1 | 60 | n/a | 0.4 | 0.8 | n/a
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
2 - FAN
Air
Defrost
Liquid
(2) Back & (3) Top
SUCTION
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## 3-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A141 |  | 14100 |  | 16300 |  |  | 3 | 12' | 2355 | 25'
WL6A161 |  | 16100 |  | 18800 |  |  | 3 | 12" | 2355 | 25'
WL6A181 |  | 18100 |  | 21200 |  |  | 3 | 12" | 2325 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight | 230v or 460v | 230v or 460v
| WL6A141 |  | 6 | 3/8" | 5/8 | 1/4" | 3/4-14 NPT | 3 | 72 Lb's | 15 | 20
| WL6A161 |  | 6 | 3/8" | 5/8 | 1/4" | 3/4-14 NPT | 3 | 78 Lb's | 15 | 20
| WL6A181 |  | 6 | 3/8" | 7/8 | 1/4" | 3/4-14 NPT | 4 | 85 Lb's | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 3 | 2.4
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 1.5 | 1.5
F | 460 | 1 | 60 | n/a | 0.4 | 1.2 | n/a
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
3 - FAN
Air
Defrost
Liquid
(2) Back
& (3) Top
SUCTION
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## 4-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A195 |  | 19500 |  | 22500 |  |  | 4 | 12' | 3140 | 25'
WL6A235 |  | 23500 |  | 27800 |  |  | 4 | 12" | 3140 | 25'
WL6A260 |  | 26000 |  | 30400 |  |  | 4 | 12" | 3100 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight | 230v or 460v | 230v or 460v
| WL6A195 |  | 6 | 3/8" | 7/8 | 1/4" | 3/4-14 NPT | 4 | 115 Lb's | 15 | 20
| WL6A235 |  | 6 | 3/8" | 7/8 | 1/4" | 3/4-14 NPT | 5 | 124 Lb's | 15 | 20
| WL6A260 |  | 6 | 3/8" | 7/8 | 1/4" | 3/4-14 NPT | 5.3 | 147 Lb's | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 4 | 3.2
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 2 | 2
F | 460 | 1 | 60 | n/a | 0.4 | 1.6 | N/A
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
4 - FAN
Air
Defrost
Liquid
(2) Back & (3) Top
SUCTION
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## 5-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A295 |  | 29500 |  | 36100 |  |  | 5 | 12' | 3875 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight | 230v or 460v | 230v or 460v
| WL6A295 |  | 6 | 3/8" | 1-1/8" | 1/4" | 3/4-14 NPT | 5 | 218 Lb's | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 5 | 4
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 2.5 | 2.5
F | 460 | 1 | 60 | n/a | 0.4 | 2 | N/A
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
SUCTION
Liquid
(2) Back
& (3) Top
5 - FAN
Air
Defrost
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## 6-FAN
|  |  | HEAT TRANSFER PRODUCTS GROUP, LLC |  |  |  |  | SUBMITTAL DATA SHEET
|  |  | 3885 Crestwood Parkway / Suite 500 |  |  |  |  | New Low Profile Unit Cooler
|  |  | Duluth, GA 30096 |  |  |  |  | Air Defrost
|  |  | (P) 800-288-9488 / (F) 256-259-7478 | [5 empty] | For Record Only
|  |  | http://Witt.htpgusa.com | [5 empty] | For Approval
Job Name: | [5 empty] | Job Location:
Customer Name: | [5 empty] | Order Number:
Architect / Engineer: | [5 empty] | Prepared By:
Unit Model Number: | [5 empty] | Tagging Info:
Unit Quantity: | [5 empty] | Date: |  | 2018-05-23 11:05
CAPACITY (BTUH) @ 10 DEG TD
UNIT MODEL |  | Saturated Suction Temp (SST) |  |  |  |  | FAN DATA
|  | R-404A |  | R-407A & R-448A/R-449A |  |  | Qty | Fan | CFM | Air Throw
|  | +25 F |  | +25 F |  |  | Fans | Diameter
WL6A330 |  | 33000 |  | 38800 |  |  | 6 | 12' | 4650 | 25'
WL6A390 |  | 39000 |  | 45900 |  |  | 6 | 12" | 4650 | 25'
PHYSICAL DATA
| Unit |  | FPI | Refrig Conn (ODS) |  |  | Drain | Refrig | Net | MCA | MOPD
| Model |  |  | Liquid | Suction | Ext Equal | Conn | Charge | Weight | 230v or 460v | 230v or 460v
| WL6A330 |  | 6 | 3/8" | 1-1/8" | 1/4" | 3/4-14 NPT | 7.8 | 257 Lb's | 15 | 20
| WL6A390 |  | 6 | 3/8" | 1-1/8" | 1/4" | 3/4-14 NPT | 7.8 | 262 Lb's | 15 | 20
ELECTRICAL DATA
Voltage | Voltage | Phase | Hertz | EC Mtr | PSC Mtr | Total Motor Amps
Code |  |  |  | Amps Ea | Amps Ea | PSC Mtrs | EC Mtrs
A | 115 | 1 | 60 | 0.8 | 1 | 6 | 4.8
D | 208/230 | 1 | 60 | 0.5 | 0.5 | 3 | 3
F | 460 | 1 | 60 | n/a | 0.4 | 2.4 | N/A
Additional Comments: |  | Refrigerant charge listed is approximate in pounds of R-404A.
Witt New Low Profile Unit Cooler Air Subm.
6 - FAN
Air
Defrost
SUCTION
Liquid
(2) Back & (3) Top
L
6
D
E
B
W
A
068
A
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
Fins Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Single Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuration descriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50

## Model Nomenclature
W
L
6
E
042
D
E
A
B
L
Refrigerant Type
A=R404A E = R448A/R449A
B = R407A F = CO2 DX
C = R407C G = Clycol (consult factory)
D = R407F
Revision Code
Model Type
L=Low Profile
Witt
FIns Per inch
4 FPI
6 FPI
Type of Defrost
A=Air Defrost
E=Electric Defrost
H=Hot Gas 3-Pipe
G=Hot GasRev.Cycle 2 Pipe
BTUH In Hundreds
Motor Type
P = PSC
E = Singel Speed ECM
D = Dual Speed ECM
Pre-Assembly Code
Blank = Standard Configuration
T = mounted TXV only
L = mounted TXV, LLS, T-Stat
M = Master COnfiguration with TXV, LLS,
T-Stat and copper tee
See features page for configuratidescriptions
Voltage Code
A = 115/1/60 L = 100/1/50
D = 208-230/1/60 M = 200-220/1/50
E = 208-230/3/60 N = 200-220/3/50
F = 460/1/60 P = 380/1/50